Final Cruise Instructions

ECO-FOCI

NOAA Ship MILLER FREEMAN, Cruise MF-07-06

April 18 – May 6, 2007

Chief Scientist – Carol DeWitt, NOAA/PMEL

- FINAL CRUISE INSTRUCTIONS

  - Cruise Title – Ecosystem and Fisheries-Oceanography Coordinated Investigations (Eco-FOCI)

  - Cruise Numbers:

    - Cruise Number – MF-07-06

    - Eco-FOCI Number – 3MF07

  - Cruise Dates:

    - Departure – April 18, 2007, 1500, Kodiak, AK

    - Touch-and-go – approximately April 27, 2007, Dutch Harbor, AK

    - Arrival – May 6, 2007, 0900, Dutch Harbor, AK

  - Operating Area - Bering Sea

- CRUISE OVERVIEW

  - Cruise Objectives - To recover and deploy surface and subsurface oceanographic instrumentation moorings.  To complete Conductivity, Temperature, and Depth (CTD) profiler casts.

  - Applicability - These instructions, with FOCI Standard Operating Instructions for NOAA Ship MILLER FREEMAN, dated March 23, 2006, present complete information for this cruise.

  - Participating Organizations

NOAA - Pacific Marine Environmental Laboratory (PMEL)

7600 Sand Point Way N.E., Seattle, Washington 98115-6439

NOAA - Alaska Fisheries Science Center (AFSC)

7600 Sand Point Way N.E., Seattle, Washington 98115-0070

  - Personnel

    - Chief Scientist

| Name | Gender | # Nationality | Affiliation | E-mail Address |
| --- | --- | --- | --- | --- |
| Carol DeWitt | F | US | PMEL | Carol.DeWitt@noaa.gov |

    - Other Participating Scientists

| Name | Gender | Nationality | Affiliation | E-mail Address |
| --- | --- | --- | --- | --- |
| William J. Floering | M | US | PMEL | William.Floering@noaa.gov |
| Antonio Jenkins | M | US | PMEL | Antonio.Jenkins@noaa.gov |
| Peter Proctor | M | US | PMEL | Peter.Proctor@noaa.gov |
| Steve Smith | M | US | PMEL |  |

  - Administration

    - Ship Operations

Marine Operations Center, Pacific

1801 Fairview Avenue East, Seattle, Washington 98102-3767

Telephone: (206) 553-4548

Fax: (206) 553-1109

CDR Michael Devany, NOAA

Chief, Operations Division, Pacific (MOP1)

Telephone: (206) 553-1857

Cellular: (206) 390-7527

E-mail: ChiefOps.MOP@noaa.gov

Frank Woods

Telephone – Work: (206) 553-4764

E-mail: Frank.Woods@noaa.gov

    - Scientific Operations

Dr. Phyllis J. Stabeno, PMEL		Dr. Jeffrey Napp, AFSC

Telephone: (206) 526-6453			Telephone: (206) 526-4148

E-mail: Phyllis.Stabeno@noaa.gov		E-mail: Jeff.Napp@noaa.gov

- OPERATIONS

Data To Be Collected - In addition to the standard suite of Scientific Computer System (SCS) integrated instruments, we will deploy the Sea-Bird SBE 911plus CTD profiler system and the Sea-Bird SBE 19 SEACAT/Bongo combination.

    - Scientific Computer System (SCS) - The ship's SCS shall operate throughout the cruise, acquiring and logging data from navigation, meteorological, oceanographic, and fisheries sensors.  See FOCI Standard Operating Instructions for NOAA Ship MILLER FREEMAN (SOI 5.2) for specific requirements.

Staging Plan – There will be two shipments - one container will be barged to Kodiak, Alaska and one container will be barged to Dutch Harbor, Alaska.  The scientific party will be responsible for arranging vehicles for moving their equipment from the airport and/or docks.

De-staging Plan - The equipment will be off-loaded in Dutch Harbor and barged to Seattle, WA.  The scientific party will be responsible for arranging vehicles for moving their equipment from the docks.

  - Cruise Plan – At the time that the MF-07-06 Final Cruise Instructions are being written, the ice extends below the Pribilof Islands.  Depending on the extent of the ice edge at the time of the cruise, the order of operations may have to change significantly and we may not be able to reach some of the work areas.

The ship will depart Kodiak, Alaska on Wednesday, April 18, 2007, and steam directly to the Unimak box of CTDs.  See Section 9.2 Cruise MF-07-06 Chartlet for an overall view of the proposed cruise.

    - Unimak box – CTDs will be conducted near Unimak Pass.  Deploy two drifters.

    - CTD operations – CTDs will be conducted to Cape Newenham from the FOCI Bering Sea “L” (see chart).  Bongo tows may be added to six of the CTD sites.

    - Kodiak Crab moorings – Prior to each of the mooring operations, a calibration CTD will be completed.  At each of two sites, mooring operations will consist of recovering one subsurface mooring and deploying one subsurface mooring.  No CTD will be required after the deployment of either of the moorings

    - FOCI Bering Sea Site 2 – Prior to mooring operations, a calibration CTD with nutrient and chlorophyll samples will be completed.  Mooring operations will consist of recovering two subsurface moorings and deploying one surface and two subsurface moorings.  After the completion of all mooring operations, a calibration CTD with nutrient and chlorophyll samples will be completed.  The four sites surrounding Site 2 will be done by the USCG Cutter HEALY.

    - Touch-and-go – A touch-and-go in Dutch Harbor to load a container shipment. The ship will then follow the USCG Cutter Healy’s CTD trackline between sites 2, 4 and 5 (see section 3.2.9).

    - FOCI Bering Sea Site 4 – Prior to mooring operations, a calibration CTD with nutrient and chlorophyll samples will be completed.  Mooring operations will consist of recovering two subsurface mooring and deploying one surface and one subsurface mooring.  Mooring personnel will monitor the ice conditions and forecasts – they may elect to substitute a subsurface mooring for the surface mooring.  After the completion of all mooring operations, a calibration CTD with nutrient and chlorophyll samples will be completed.    The four sites surrounding Site 4 will be done by the USCG Cutter HEALY.

    - U-tow operations – The u-tow will be deployed in an area where the ice has receded.  Exact locations of the tows will be determined during the cruise.  We will conduct u-tow operations for approximately three days.

    - FOCI Bering Sea Site 5 – The ship will transit from FOCI Bering Sea Site 4 to FOCI Bering Sea Site 5 – again following the trackline of the USCG Cutter Healy.  Prior to mooring operations, a calibration CTD will be completed.  Mooring operations will consist of recovering two subsurface moorings and deploying two subsurface moorings.  After the completion of all mooring operations, a calibration CTD with nutrient and chlorophyll samples will be completed.    The four sites surrounding Site 5 will be done by the USCG Cutter HEALY.

    - Ancillary Project - EK60 data collection.  Acoustic data will be collected continuously by the Simrad ER60 echo integration system incorporating four centerboard-mounted transducers (18 kHz, 38 kHz, 120 kHz, and 200 kHz) in order to map fish and plankton aggregations and intercalibrate acoustic systems with the Coast Guard ship Healy.  The ADCP will be synchronized to trigger from the EK60 if it is used.  The vessel must not operate other echo sounders or acoustic equipment that interfere with collection of scientific acoustic data – i.e., the Simrad EQ50 bridge sounder must be slaved (external trigger on) to the ER60 echo sounder, and the EQ50 must be operated in the high frequency (50 kHz) mode during the survey.  The survey technicians will be asked to turn on the EK60, perform periodic checks, and back up data to DVD at the end of the cruise.  MACE personnel will be available by email and telephone to assist.

  - Station Locations - See Section 9.3 Cruise MF-07-06 Station Locations.

  - Station Operations - The following are operations to be conducted on this cruise.  The procedures for these operations are listed in the FOCI Standard Operating Instructions for NOAA Ship MILLER FREEMAN (SOI).  Operations not addressed in the SOI and changes to standard procedures are addressed below.

- CTD/Water Sample Operations (SOI 3.2.1)

- MARMAP Bongo Tows (SOI 3.2.2)

- Chlorophyll Sampling Operations (SOI 3.2.10)

- ARGOS Satellite Tracked Drifter Buoy Deployments (SOI 3.2.11)

- SIMRAD EK-60 and 12 Khz Simrad ES-60 Scientific Echosounder Monitoring (SOI 3.2.12)

  - Underway Operations - The following are underway operations to be conducted on this cruise.  The procedures for these operations are listed in the FOCI Standard Operating Instructions for NOAA Ship MILLER FREEMAN (SOI).  Operations not addressed in the SOI and changes to standard procedures are addressed below.

- Acoustic Doppler Current Profiler (ADCP) Operations (SOI 3.2.13),

- Scientific Computer System (SCS) data acquisition (SOI 5.2),

- Fluorometer monitoring (SOI 5.3),

- Thermosalinograph monitoring (SOI 5.3).

  - Applicable Restrictions - None.

  - Small Boat Operations - Small boat operations at FOCI Bering Sea Sites 2 and 4 may be required.

- FACILITIES

  - Equipment and Capabilities Provided by Ship

- Oceanographic winch with slip rings and 3-conductor cable terminated for CTD,

- Aft Rowe oceanographic winch with 8 conductor slip rings and connections to DataPlot,

- 12 Khz hull mounted Edgetech Acoustic release transducer,

- Manual wire-angle indicator,

- Oceanographic winch with slip rings and 3-conductor cable terminated for the SBE SEACAT, for net tow operations,

- Sea-Bird Electronics’ SBE 911plus CTD system with stand, each CTD system should include underwater CTD, weights, and pinger.  There should be a deck unit for the system,

- 10-liter Niskin sampling bottles for use with rosette (10 plus 4 spares),

- Conductivity and temperature sensor package to provide dual sensors on the CTD (primary),

- AUTOSAL salinometer, for CTD field corrections,

- Sea-Bird Electronics’ SBE-19 SEACAT system for plankton tows,

- Meter block for plankton tows,

- Wire speed indicators and readout for quarterdeck, Rowe, and Marco winches,

- For meteorological observations: 2 anemometers (one R. M. Young system interfaced to the SCS), calibrated air thermometer (wet-and dry-bulb) and a calibrated barometer and/or barograph,

- Freezer space for storage of biological and chemical samples (blast and storage freezers, indicate desired temperatures),

- SIMRAD EQ-50 echosounder,

- JRC JFV-200R color sounder recorder,

- RD Instruments’ ADCP written to disk,

- Use of Pentium PC in DataPlot for data analysis,

- Scientific Computer System (SCS),

- Minimum of 2 computers with internet and e-mail access,

- Removable stern platform (in place),

- Laboratory space with exhaust hood, sink, lab tables and storage space,

- Sea-water hoses and nozzles to wash nets (quarterdeck and aft deck),

- Adequate deck lighting for night-time operations,

- Navigational equipment including GPS and radar,

- Safety harnesses for working on quarterdeck and fantail,

- Ship’s crane(s) used for loading and/or deploying.

  - Equipment and Capabilities Provided by Scientists

- Sea-Bird Electronics’ SBE 911plus CTD system,

- Sea-Bird Electronics’ SBE-19 SEACAT system,

- PMEL PC with SEASOFT software for CTD data collection and processing,

- Fluorometer, light meter and dual oxygen sensors to be mounted on CTD,

- CTD stand modified for attachment of fluorometer,

- Conductivity and temperature sensor package to provide dual sensors on the CTD (backup),

- CTD rosette sampler,

- IAPSO standard water,

- 60-cm bongo sampling arrays,

- 20 cm bongo arrays,

- Spare wire angle indicator,

- Surface moorings (FOCI biophysical platforms),

- Subsurface moorings,

- ARGOS tracked drifter buoys,

- Miscellaneous scientific sampling and processing equipment,

- Scientific ultra-cold freezer,

- Cruise Operations Database (COD).

- DISPOSITION OF DATA AND REPORTS

  - The following data products will be included in the cruise data package:

- NOAA Form 77-13d - Deck Log - Weather Observation Sheets,

- Electronic Marine Operations Abstracts,

- SCS backup,

- Calibration Sheets for all ship's instruments used,

- CTD Cast Information/Rosette Log,

- Autosalinometer Logs,

- ADCP Log Sheets,

- ADCP CD (CD-RW),

- Ultra-cold Freezer Temperature Daily Log (SOI 5.4).

  - Pre- and Post-cruise Meetings - Cruise meetings may be held in accordance with FOCI Standard Operating Instructions for NOAA Ship MILLER FREEMAN (SOI 5.5).

- ADDITIONAL PROJECTS

  - Definition - Ancillary and piggyback projects are secondary to the objectives of the cruise and should be treated as additional investigations.  The difference between the two types of secondary projects is that an ancillary project does not have representation aboard and is accomplished by the ship's force.

  - Ancillary Projects - Any ancillary work done during this project will be accomplished with the concurrence of the Chief Scientist and on a not-to-interfere basis with the programs described in these instructions and in accordance with the NOAA Fleet Standing Ancillary Instructions.

  - Piggyback Projects – None.

- HAZARDOUS MATERIALS The field party chief shall be responsible for complying with MOCDOC 15, Fleet Environmental Compliance #07, Hazardous Material and Hazardous Waste Management Requirements of Visiting Scientists.  July 2002

  - Inventory

7.1.1 Hazmat Inventory, DeWitt:

| Chemical | CAS Number | Respondee | Org | Qty | H | F | R | Storage Color Code | Hazard Class | Packing Group Number | UN # | Response Indices |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Battery, Lithium | mixture | DeWitt | PMEL | * | 2 | 2 | 3 | General | 9 | II | 3090 |  |
| Tributyltin Oxide | 56-35-9 | DeWitt | PMEL | 6 oz. | 3 | 1 | 0 | Poison | N. R. |  |  | 1 |
| Spill Response 1: Stop the leak, if possible. Ventilate the space involved. Absorb, sweep up, and place in container for disposal. Shut off or remove all ignition sources. Prevent waterway contamination. Construct a dike to prevent spreading. Collect run-off (water) and transfer to drums or tanks for later disposal. |  |  |  |  |  |  |  |  |  |  |  |  |

* Lithium and Alkaline battery quantities as follows:

31 - SBE-39 (9-V lithium battery)  10 - Microcat (6 lithium battery sticks and anti-fouling on conductivity cells)  6 - Seacat (3 DD lithium battery packs and antifouling cylinders on conductivity cells)  7 - ECO-fluorometer (6 9-V lithium batteries)  3 - Seacat (6 D alkaline cells and antifouling cylinders on conductivity cells)  4 - MTR (1 9-V alkaline cell)  Spare batteries, in a hazmat can:

6 9-V lithium batteries

6 9-V alkaline batteries

6 lithium battery sticks

2 packs on anti-fouling cylinders

7.1.2 Hazmat Inventory, Proctor:

| Common Material Name | Chemical Composition | UN ID # | Respondee | Org | Unit Type | Unit Size | Unit Qty | MSDS | Total Qty | H | F | R | Special |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NEDA | N-(1-Naphthyl) ethylenediamine dihydrochloride) 98% ACS Reagent | N.R. |  |  | plastic | 1 g | 4 | yes | 4 g | 2 | 0 | 1 |  |
|  |  |  | Proctor | PMEL |  |  |  |  |  |  |  |  |  |
| Sulfanilamide | C6H8N2O2S | N.R. | Proctor | PMEL | plastic | 10 g | 4 | yes | 40 g | 1 | 1 | 0 | G |
| Cupric Sulfate | CuSO4 | N.R. | Proctor | PMEL | plastic | 20 g | 2 | yes | 40 g | 2 | 0 | 0 |  |
| Imidazole | C3H4N2 | 3263 | Proctor | PMEL | plastic | 27.2 g | 8 | yes | 163.2 g | 3 | 1 | 0 |  |
| Hydrochloric Acid | HCl | 1789 | Proctor | PMEL | glass | 500 ml | 1 | yes | 500 ml | 3 | 0 | 1 | W |
| Ammonium Chloride | NH4Cl | 3077 | Proctor | PMEL | plastic | 14 g | 8 | yes | 112 g | 2 | 0 | 0 |  |
| Cadmium silver wire | CdAg | 2930 | Proctor | PMEL | wire | 16 g | 2 | yes | 32 g | 2 | 0 | 0 | I |
| Nitrogen, compressed | N2 | 1066 | Proctor | PMEL | cylinder | 30 lbs | 1 | no | 30 lbs | 2 | 0 | 0 |  |
| Lithium Batteries | Mixture | 3090 | Proctor | PMEL | each |  | 2 |  | 2 | 9 | 2 | 3 |  |
| Salt | NaCl | N.R. | Proctor | PMEL | plastic | 300 g | 2 | yes | 600 g | 1 | 0 | 0 |  |

  - Material Safety Data Sheet (MSDS)

An electronic MSDS for each hazardous material will be brought aboard the ship.

- MISCELLANEOUS

  - Communications - Specific information on how to contact the NOAA Ship MILLER FREEMAN and all other fleet vessels can be found at:

http://www.moc.noaa.gov/phone.htm

  - Important Telephone and Facsimile Numbers and E-mail Addresses

    - Pacific Marine Environmental Laboratory (PMEL):

FOCI - Ocean Environmental Research Division (OERD2):

- (206) 526-4700 (voice)

- (206) 526-6485 (fax)

Administration:

- (206) 526-6810 (voice)

- (206) 526-6815 (fax)

E-Mail: FirstName.LastName@noaa.gov

    - Alaska Fisheries Science Center (AFSC):

FOCI - Resource Assessment and Conservation Engineering (RACE):

- (206) 526-4171 (voice)

- (206) 526-6723 (fax)

E-Mail: FirstName.LastName@noaa.gov

    - NOAA Ship MILLER FREEMAN - Telephone methods listed in order of increasing expense:

Homeport - Seattle, Washington:

- (206) 553-4589

- (206) 553-4581

- (206) 553-8344

United States Coast Guard - Kodiak, Alaska

- (907) 487-9752

- (907) 487-9753

- (907) 487-4397

- (907) 487-4398

Cellular:

- (206) 790-7594

Iridium:

- (808) 659-5684

INMARSAT Mini-M

- 011-872-761-267-346 (voice/PBX)

- 011-872-761-267-347 (voice)

- 011-872-761-267-348 (fax)

INMARSAT B

- 011-872-330-394-120 (voice)

- 011-872-330-394-121 (fax)

E-Mail: NOAA.Ship.Miller.Freeman@noaa.gov (mention the person’s name in SUBJECT field)

    - Marine Operations Center, Pacific (MOP):

Operations Division (MOP1)

- (206) 553-4548 (voice)

- (206) 553-1109 (facsimile)

E-Mail: FirstName.LastName@noaa.gov

E-Mail to Radio Room: Radio.Room@noaa.gov

- APPENDICES

  - Equipment Inventory

This is a preliminary loading list for the container to Kodiak, Alaska.  A final shipment list will be faxed to the ship when the container has actually been loaded.  In addition, a shipment list for the container to Dutch Harbor, Alaska will be faxed to the ship when that container has been loaded.

| 1 | Donut anchor and chain for the surface mooring at site BS-2 total (anchor is 4150 lbs of the 7000) | 7000 | lbs |
| --- | --- | --- | --- |
| 6 | steel floats (150 lbs each) | 900 | lbs |
| 9 | acoustic releases (150 lbs each) | 900 | lbs |
| 2 | 650 lbs anchors for Crab moorings | 1300 | lbs |
| 4 | 1600 lb anchors (two for site 2, two for later) | 6500 | lbs |
| 1 | 2150 lb anchor (back up for subsurface at BS-4 if ice requires) | 2150 | lbs |
| 1 | 41 inch steel float | 500 | lbs |
| 3 | 36 inch syntactic foam floats with 300 khz adcp units installed (700 lbs each) | 2100 | lbs |
|  | Misc hardware, instruments and tools | 2000 | lbs |
|  | U-Tow | 300 | lbs |
|  | TOTAL | 23,650 | lbs |